	FIRE RISK ASSESSMENT FOR:
	ST. AGATHA’S CHURCH, 
	UPDATED: January 2026

	
	WOLDINGHAM
	DUE FOR REVIEW: January 2027

	
	
	

	PERSONS CARRYING OUT
	The Revd Dr Catherine Dowland-Pillinger
	

	RISK ASSESSMENT


	
	                                         RISK RATING

	HAZARD TO BE 

CONSIDERED 
	PERSONS AT RISK
	MITIGATING THE RISK
	POTENTIAL

CONSEQUENCES

OF FIRE
	LIKELIHOOD OF FIRE

	General fire risk 

from candles, cigarettes etc.  
	Everyone present

In the church
	1. St. Agatha’s is a very small single storey building measuring only about 30ft. by 40ft. and is capable of seating only about 40 people.  There are usually only about 12 people present at the Sunday service. 

2. There is one exit via double doors at the back of the church.  This exit is easily accessible at all times.

3.  A churchwarden or sides person is seated at the back of the church during services to help access and egress for any persons who have limited mobility.   

4.  The fire load is low and comprises in the main fixtures and fittings constructed from hardwoods which are difficult to ignite and not likely to sustain combustion.  

5. Whilst candles are used during services they are clearly visible and there is little risk of a fire either starting or developing undetected. 

6.  There are two fire extinguishers in the church (water and carbon dioxide) which are tested annually.  Last tested by GC Fire Protection in October 2025.
7.  There is a smoke detector fixed to the back wall.

8.  There are no combustible materials stored in the church.

9.  Smoking is not permitted

   
	Slight harm
	Low

	Electrical Fire
	Everyone present

In the church
	1. The Church was re-wired in January 2017 by Electrician, Mr. R. Chalkley REOC Electrical, Westview, Southview Road, Woldingham, CR3 7AB.

2.  Electrical inspection to be carried out every 5 years. Last test took place in 15/05/2023.

3.  All electrical appliances PAT tested every two years by Lewis Lineker, Lineker Electrical, 1, Arden Mead, Tandridge Lane, Lingfield, RH7 6LL.  Last test carried out on 28 March 2025. 

4.  The church is heated by electric radiant bar type heaters fixed at ceiling level.

5. The main isolator for the heating and other circuits is situated in an enclosure at the rear of the Church
	Slight harm
	Low

	Lightning 
	Everyone present in the church
	    A lightning conductor is fitted on the roof of the church.         


	Slight harm
	Low

	Gas
	
	There is no gas supply at St. Agatha’s
	
	

	Arson
	Everyone present 

in the church –

although it is mostly open but

unoccupied
	1. The church is open at present on Wednesday between 10am and 4.00pm.  It is for most of the time unoccupied.  It is open on Sunday for a service between 9.00am and 10am and then open, but mostly unoccupied, until 4.00pm.  Although the church is open, but unoccupied, on Monday, Wednesday and Sunday, it is situated in a secluded location on a “no through” lane with little traffic.

2. There are no combustible materials kept in the church. 

3. Candles and matches are concealed in a drawer or brought in when needed.


	Slight harm
	Low

	Key to Rating of Risk

  Potential consequences of fire:  

Slight harm: Outbreak of fire is unlikely to result in serious injury or death of any occupant. 

Moderate harm: Outbreak of fire could foreseeably result in injury (including serious injury) of one or more occupants, but is unlikely to involve multiple fatalities. 

Extreme harm: Significant potential for serious injury or death of one or more occupants.                                                                       
 Likelihood of Fire:  
Low: Unusually low likelihood of fire as a result of negligible potential sources of ignition.

Medium: Normal fire hazards (e.g. potential ignition sources) for this type of occupancy, with fire hazards generally subject to appropriate controls (other than minor shortcomings).

High: Lack of adequate controls applied to one or more significant fire hazards, such as to result in significant increase in the likelihood of fire.




