	FIRE RISK ASSESSMENT FOR:
	ST. PAUL’S CHURCH,
	UPDATED : January 2026

	
	WOLDINGHAM
	REVIEW DATE: January 2027

	
	
	

	PERSONS CARRYING OUT
	The Revd Dr Catherine Dowland-Pillinger
	

	RISK ASSESSMENT
	
	                                     RISK RATING

	HAZARD TO BE 

CONSIDERED 
	PERSONS AT RISK
	MITIGATING THE RISK 
	POTENTIAL

CONSEQUENCES

OF FIRE
	LIKELIHOOD OF FIRE

	General fire risk 

from candles, cigarettes etc.  
	Everyone present

In the church/church room
	1. The doors providing the principal means of escape from the church to the outside are clearly visible as the main body of the church is one large open area.  There are also doors to the church room corridor and the vestries and from these further doors to the outside.

2. There is a panic bolt operated fire door from the church room which leads directly to the outside.   

3. Areas such as the vestries, which are separated from the main body of the church, are only occupied by a small number of people who know the building well and there is a door from the choir vestry to the outside and from the priest’s vestry to the church room corridor. 

4. Due to the lofty nature of the main body of the church there is a large open area where smoke can be contained thus increasing the potential time to evacuate the building.

5. The church can accommodate about 200 people but the normal congregation is relatively small (about 30) and know the building well and could easily evacuate the building in the event of fire. 

6. Whilst candles are used during services, they are clearly visible and there is little risk of a fire either starting or developing undetected. 

7.  The fire load is low and comprises in the main fixtures and fittings constructed from hardwoods which are difficult to ignite and not likely to sustain combustion.

8. No cigarette smoking is permitted in the church or the church room.

9. There are 3 fire extinguishers in the church itself (foam, carbon dioxide and powder) which are inspected annually.  Last tested by GC Fire Protection in October 2025. 

10. There are also fire extinguishers in the church room, kitchen and church room corridor (foam, carbon dioxide and water).  There is additionally a fire blanket in the kitchen. Also all inspected annually by GC Fire Protection and last inspected in October 2025.  

11. There is a fire detection system in the church room and the church room corridor which is tested by GC Fire Protection every six months.  Last test was July 2025.
12. We do not have an automatic fire detection system in the church itself, but, in view of the nature of the building, a fire would be detected immediately by persons either smelling or seeing smoke. 

13. There are occasions when the church is full, but these occur only a few times during the year.  On these occasions the following extra precautions are planned:-

(a) Vicar to make congregation aware of location of exits and evacuation procedure before the beginning of the service or event.

(b) Sides persons will be given training in the procedure for managing large congregations, including helping those with limited mobility.  They will be made familiar with the signs and notices for these occasions and will be responsible for putting them in place.  The sides persons and churchwardens will be given rechargeable torches for use if there is a power failure.

(c)  For major services and events all external exit doors will be deemed to be fire doors and notices have been displayed (2023).  Where exit doors are not visible from the main body of the church an appropriate sign will be produced to show the exit route.  

(d) Fire Notices have been displayed (during 2023) in prominent places giving instructions on how to raise the alarm if fire is detected and action to be taken to evacuate the building.  Further notices will be displayed showing the location of fire extinguishers and how they should be used.

14. Fire Drills will be carried out at least once a year after the 10am service so that the congregation is familiar with the procedure for evacuation and the assembly point outside.

15. All contractors/volunteers working in the church will be made aware of our Fire Action Notice, location of the exits and the fire extinguishers


	Slight harm
	Low

	Electrical Fire
	Everyone present

In the church/ church room
	1. The church electrical system was tested 28/02/2023 and corticated in April 2023, following minor remedial works
2.  All portable electrical appliances are tested every two years by Lewis Lineker, Lineker Electrical, 1 Arden Mead, Tandridge Lane, Lingfield, RH7 6LL.  The last test was on 28 March 2025  and covered both churches.
3. There is a mobile phone base station located in the church tower.  This is operated by New Edge Telecommunications  (NET), a company 

acting for the mobile phone providers Vodafone and O2.  The antennae which process signals from mobile phones are in the bell chamber and the other electrical equipment is in the clock room below.  There are fire extinguishers in the bell chamber and the clock room provided and maintained by NET.      

4. The main incoming electricity supply is located in the basement and is isolated/turned off from switch gear mounted there.  This controls all power circuits, but there are other local isolators in potentially hazardous areas, for example, the cooker and the organ blower motor. 


	Slight harm
	Low

	Gas 
	Everyone present in the church/church room
	1. The gas boiler for the church is located in the basement under the tower.  It was installed in 2022 and is inspected and serviced annually by a Gas Safe Engineer from Hot Water & Central Heating Ltd., Woodbury Barn, Troy Lane, Edenbridge, TN8 6QL.  Last service 13/1/26. 

2. There is a carbon monoxide monitor and alarm fitted in the basement.

3. The church room boiler, which is located in a large walk-in cupboard, was newly installed on 18 November 2020 by Simon Davies of Hot Water & Central Heating Ltd.  A Building Regulations Compliance Certificate was issued - Registration 196826.  Cert.  No. 21211685.  This was serviced 13/1/26 and certificate issued.

	Slight harm
	Low

	Lightning 
	Everyone present in the church
	A lightning protection system is fitted on the top of the church tower.  Following major work to the tower this was re-installed and certified by Jack Jones of MDS Consulting Ltd. on 24/03/25
	Slight harm
	Low

	Kitchen/Cooking
	Everyone present in the church room and kitchen area
	Cooking is very rarely done in the kitchen.  Occasionally food is reheated.  There is a fire extinguisher and fire blanket in the kitchen.  There is a fire alarm system covering the kitchen.  When the kitchen door is fixed open, the doorstop mechanism closes the door automatically when the fire alarm sounds.
	Slight harm
	Low

	Arson


	Everyone present in the building
	This is unlikely when the church and church room are in use.  The church and church room area are locked when unoccupied.


	Slight harm
	Low

	Key to Rating of Risk

  Potential consequences of fire:  

Slight harm: Outbreak of fire is unlikely to result in serious injury or death of any occupant. 

Moderate harm: Outbreak of fire could foreseeably result in injury (including serious injury) of one or more occupants, but is unlikely to involve multiple fatalities. 

Extreme harm: Significant potential for serious injury or death of one or more occupants.                                                  

Likelihood of Fire:  
Low: Unusually low likelihood of fire as a result of negligible potential sources of ignition.

Medium: Normal fire hazards (e.g. potential ignition sources) for this type of occupancy, with fire hazards generally subject to appropriate controls (other than minor shortcomings).

High: Lack of adequate controls applied to one or more significant fire hazards, such as to result in significant increase in the likelihood of fire.




